SECTION 14202

ELEVATORS AND LIFTS

** NOTE TO SPECIFIER **  Savaria Concord Lifts Inc.; residential and commercial elevator and lifts.
 .
 This section is based on the products of Savaria Concord Lifts Inc., which is located at:

107 Alfred Kuehne Blvd.
  Brampton, ON, Canada L6T 4K3
  Toll Free Te1:  (800)  661-5112
  Te1:  (905)  791-5555
  Fax: (905) 791-2222
  Web: www.savariaconcord.com.
  
[ Click Here ] for additional information.

As a leading designer and manufacturer of residential elevators, luxury home elevators, commercial elevators and lifts for over 30 years, Concord Elevator has thousands of satisfied customers to thank for their business.
 
 Our global operation continuously seeks to advance manufacturing processes in our own modern facilities, allowing us to offer exceptional value and shorter lead times, while never compromising product quality, safety or reliability.
 
 As an active member of many trade associations, Concord is committed to the ongoing support of its customers and dealers alike. Authorized Concord dealers are carefully selected for their knowledge and experience, kept up-to-date with the latest technical and training sessions, and supported with our expert customer service.
 
 Residential Elevators
 Easily and quickly installed in new or existing homes, our residential elevators will embellish your home decor with its many available stylish finishes.
 Infinity Luxury Elevator: Designed to provide a luxurious yet affordable means of vertical transportation for multilevel homes. Infinity's reliable, quiet and smooth operation is ensured by our innovative hydraulic drive system. With a variety of cab finishes and colors the Infinity allows you to customize your design for a more personalized look.
 Prolift Voyager: A fully enclosed residential and commercial lift that provides an economical means of vertical transportation for the physically disabled. The cable hydraulic drive system delivers reliable, quiet, and smooth operation while serving from two to four floors.
 
 Commercial Elevators: Savaria Concord provides user-friendly, cost-effective solutions for both new construction, and when adding an elevator to an existing structure. Easily installed, reliable, quiet, and a smooth ride ensure that you are getting the best accessibility lift on the market today.
 Orion LU/LA: A fully enclosed commercial elevator that makes code compliance fast and easy. Completely redesigned, it meets all current American and Canadian Code requirements for limited-use/ limited application (LU/LA) elevators. It is also suitable for residential use.
 
 Savaria Concord Lifts 1nc. 
 Prolift SCL: A fully enclosed Commercial Lift that provides an economical means of vertical transportation for the physically disabled. It has a reliable, quiet, and smooth operation while serving from two to four floors.
 Savaria Concord Lifts 1nc. Prolift Voyager: A fully enclosed residential and commercial lift that provides an economical means of vertical transportation for the physically disabled. The cable hydraulic drive system delivers reliable, quiet, and smooth operation while serving from two to four floors.
 
 Vertical Platform Lifts: Concord introduces a unique line of vertical wheel chair platform lifts. These ruggedly constructed lifts have been proven for both indoor and outdoor applications.
 V1504: The unique drive and platform combinations of the V-1504 vertical wheel chair platform lift allows for rapid delivery and ease of installation in respect to any architectural requirements.
 P.A.L. S Vertical Platform Lift: ADA Handicap Compliant Product. A vertical wheelchair platform lift designed to provide a safe and reliable means of vertical access for persons with physical disabilities. The P.A.L. S can be installed indoors or outdoors and will look new for years due to its Stainless Steel Construction and electrostatically applied baked-on polyester gloss powder coat paint.
 P.A.L. EN Vertical Platform Lift: Designed to provide a safe and reliable means of vertical access for persons with physical disabilities. An emergency battery powered "backup" system provides lowering and raising of the lift even during a main power failure.
 Multilift Vertical Platform Lift: The ACME screw drive system offers a safe and reliable operation for its users. This ruggedly constructed lift has been proven for both indoor and outdoor applications. The Multilift vertical wheel chair platform lift is designed to meet today's safety code requirements like ASME A18.1 for residential use.
 
 Incline Platform Lift:
 The ES-125 stair wheelchair lift is designed for both residential and commercial use. Its compact folding platform leaves the stairway virtually unobstructed when not in use. It can be used both indoors and outdoors.
 
 Step Saver Straight Stair Chair: With its smooth rack and pinion drive and battery power, "Step-Saver" can effortlessly take you up and down a straight stairway, even during a power outage. Its neutral color and modern appearance can coordinate with practically any decor, and its slim rail and carriage save room on the steps to allow others access past the lift.
 
 Straight Stair Chair: The B.07 straight stair chair can meet a wide variety of accessibility needs. This versatile lift for straight stairways can be built for both indoors or outdoors, residential or commercial use, AC or battery power, with an optional capacity upgrade.
 
 Curved Stair Chair: The Stairfriend curved stairlift, a stair lift designed for residential use. The innovative design of the Stairfriend stairlift makes it the ideal companion for people with mobility needs and all at a friendly price.

- GENERAL

  - SECTION INCLUDES

    - Residential elevators.

  - RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant for elevator products; add others as required.

    - Division 16 Sections for electrical service for elevators to and including main fused, lockable disconnect w/ auxiliary contact and fused lighting disconnect at machine room.

    - Division 16 Section "Voice and Data Communication Cabling" for telephone service to elevators.

  - REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

    - American Society of Mechanical Engineers (ASME) A17.1 - Safety Code for Elevators and Escalators.

  - REQUIREMENTS OF REGULATORY AGENCIES:

    - Fabrication and installation work in compliance with applicable jurisdictional authorities.

    - File shop drawings and submissions with local authorities as the information is made available. Company pre-inspection and jurisdictional authority inspections and permits are to be made on timely basis as required.

  - SUBMITTALS

    - Submit under provisions of Section 01300.

    - Product Data: Manufacturer's data sheets on each product to be used, including:

      - Preparation instructions and recommendations.

      - Storage and handling requirements and recommendations.

      - Installation methods.

    - Shop Drawings: Provide a complete layout of lift equipment detailing dimensions and clearances as required.

** NOTE TO SPECIFIER **  Delete selection samples if colors have already been selected.

    - Selection Samples:  For each finish product specified requiring selection of color or finish, two complete sets of color charts representing manufacturer's full range of available colors and patterns.

  - QUALITY ASSURANCE

** NOTE TO SPECIFIER **  Add manufacturer requirements. Delete if not required.

    - Manufacturer Qualifications:

    - Installer Qualifications:

      - Execute work of this section only by a company that has adequate product liability insurance.

      - Skilled tradesmen shall be employees of the installing contractor approved by the manufacturer, with demonstrated ability to perform the work on a timely basis.

** NOTE TO SPECIFIER **  Include a mock-up if the project size and/or quality warrant taking such a precaution.  The following is one example of how a mock-up on a large project might be specified.  When deciding on the extent of the mock-up, consider all the major different types of work on the project.

  - DELIVERY, STORAGE, AND HANDLING

    - Store products in manufacturer's unopened packaging until ready for installation.

    - Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

  - PROJECT CONDITIONS

    - Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install systems under environmental conditions outside manufacturer's absolute limits.

  - WARRANTY

    - Coverage - This warranty applies to the repair or replacement, at Manufacturer's option, of parts that fail due to defective material or workmanship. Manufacturer may, at its option, provide factory reconditioned parts. This warranty is provided to the Authorized Dealer on behalf of the final purchaser of the product and is not transferable. The Manufacturer's warranty does not cover labor charges for the removal, repair or replacement of warranty parts but such costs may be covered for a period of time by Authorized Dealer's warranty, which is provided to purchaser separately.

** NOTE TO SPECIFIER **  Longer extended warranties available. Consult manufacturer. Delete warranty provisions not required.
 ** NOTE TO SPECIFIER **  Typical warranty period for Savaria Concord systems. Delete if not required.

      - The manufacturer shall offer a 12-month warranty on parts from date of substantial completion.

      - The installer shall offer a 12-month warranty on labor from date of substantial completion.

- PRODUCTS

  - MANUFACTURERS

    - Acceptable Manufacturer: Savaria Elevators and Lifts, Brampton, ON, Canada as supplied and installed by Accessibility Systems, Inc., (800) 759-3237 Web: www.accessibilitysystems.com

    - Substitutions shall not be permitted..

  - RESIDENTIAL ELEVATOR

    - Residential Elevator:  Savaria Eclipse.

    - Equipment:  Provide equipment, incidental material and labor required for complete, operable hydraulic elevator installation. The elevators shall be erected, installed, adjusted, tested and placed in operation by the elevator system manufacturer or manufacturer's authorized installer.

    - Performance:  The elevator shall be designed and tested in accordance with ASME A17.1 part 5.3. The testing shall consist of loading the platform to rated capacity for several cycles to insure proper operation. Mechanical failures and defects shall be corrected.

    - The following preparatory work to receive the elevator specified shall be the work provided by others:

      - Permanent 220 VAC, 30 amp single phase power to operate lift to be provided from a lockable fused/cartridge type disconnect switch with auxiliary contacts for battery operation. 110 VAC, 15 amp single phase power to operate the lighting circuit. Refer to Drawings for permanent power specifications and location of disconnects. Temporary power may be provided to expedite installation of lift.

      - Provide a plumb and square hoistway with smooth interior surfaces, including fascias or furring of the hoistway interior.

      - Provide rough openings per lift subcontractor's shop drawings.

      - Provide substantial, level pit floor slab as indicated on the lift contractor's shop drawings

    - Characteristics:

      - Rated Load: 1000 lbs. (454 kg.).

      - Rated Speed: 40 fpm .

      - Car Dimensions: (SELECT ONE) 36” W by 48” D, 36” x 54”, or 40” x 54”, 36” x 60”

      - Operation: Automatic.

      - Gate Type: Horizontally collapsible, accordion style with 3 vision panels.

      - Power Supply: 220 Volt, Single Phase, 30 Amps.

      - Travel Distance: 50 feet (15.2 m) maximum. Refer to drawings.

      - Levels Served: Maximum 5. Refer to drawings.

      - Number of Openings: 2 Maximum. Refer to drawings.

      - Lighting Supply: 110 Volt, 1 Phase, 60 Cycle, 15 Amps.

      - Drive System: Automatic 2HP Geared Roller Chain Variable Frequency Drive complete with counterweight, Relay Logic Controller and Diagnostic LEDs.

      - Device Type: Magnetic.

      - Car Operating Panel: Automatic push buttons, digital floor position indicator, emergency stop/alarm button, on/off key switch and emergency light, and an alarm button mounted on a removable steel panel.

      - Hall Call Stations: Provide a keyless hall call station with an illuminated call button and stainless steel cover plate for each landing.

      - Emergency Operation: The car shall be equipped with a battery-operated light fixture, emergency battery lowering device and alarm in case of normal building supply failure. The battery shall be the rechargeable type with an automatic recharging system.	Manual lowering: Access door outside the hoistway at upper landing.

Part 3 Execution

    - :

** NOTE TO SPECIFIER **  Standard indicated. Contact manufacturer for options.

      - Walls: Durable Melamine wall panels.

** NOTE TO SPECIFIER **  Contact manufacturer for options. Delete if not required.

      - Ceilings: Durable Melamine (Standard) With Four (4) Recessed Down Lights.

      - Overhead lights in the car compartment shall turn ON automatically when the elevator door is opened and to stay on while the elevator is in use. The elevator lights will shut off by a timer when the elevator is not in use.

      - Floor: Unfinished plywood sub-flooring.

      - Handrail: Handrail located on control panel side.

    - Systems and Components:

      - Chain: 2 only #60 roller chain.

      - Guide Rail: Modular Guide Rail assembly incorporating 6 lb. machined elevator “T” Rails.

      - The door locks shall be surface-mount Kwiklock elevator interlocks by Savaria.

      - Car Gate: Horizontally collapsible accordion style car gate with rattan panels and three clear acrylic vision panels. Car gate shall enclose each car entrance.

    - Emergency Devices:

      - Terminal limits. Stops the elevator if it overruns the normal limits at the top or bottom landing.

      - Final limits. A redundant safety feature if the elevator overruns the terminal limits at the top or bottom, the final limit stops the elevator and renders all automatic controls inoperable. If this happens, the elevator must be serviced to determine and correct the fault.

      - Pit switch. Disables elevator for servicing purposes.

      - Interlocks. Hoistway doors remain locked when the car is not at that floor and prevent the elevator from running until all doors are closed and locked.

      - Slack/broken chain safety device. In the unlikely event that drive chain would slacken or break, the device locks the car onto the T-rails, preventing the car from falling.

- EXECUTION

  - EXAMINATION

    - Do not begin installation until hoistway and machine room has been properly prepared.

    - Site dimensions shall be taken to verify that tolerances and clearances have been maintained and meet local regulations.

    - If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - ELEVATOR INSTALLATION

    - Install in accordance with manufacturer's instructions.

    - Install the components of the elevator system that are required and that are required by jurisdictional authorities to license the elevator.

    - Trained employees of the elevator contractor shall perform installation work.

    - Adjust elevator for proper operation and clean unit thoroughly.

    - Instruct users in operating procedures and owner's maintenance person in trouble-shooting and maintenance procedures.

  - LIFT INSTALLATION

    - Install all the components of the lift system that are specified in this section to be provided, and that are required by jurisdictional authorities to license the lift.

    - Trained employees of the lift contractor shall perform all installation work of this section.

    - Adjust lift for proper operation and clean unit thoroughly.

    - Instruct users in operation procedures and Owner's maintenance person in trouble-shooting and maintenance procedures.

  - PROTECTION

    - Protect installed products until completion of project.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION